GUIDE SPECIFICATION FOR DECK-O-SEAL® GUN GRADE:  TWO-PART, ELASTOMERIC, POLYSULFIDE-BASED, NON-FLOWING JOINT SEALANT

SECTION 13 11 00

SWIMMING POOLS

Specifier Notes: This guide specification is written according to the Construction Specifications Institute (CSI) format. The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project. Coordinate this section with other specification sections and the drawings.

Specifier Notes: DECK-O-SEAL GUN GRADE is a two-component, non-sag, non-flowing, polysulfide-based sealing compound. It is a non-staining sealant that cures to a firm, flexible, tear-resistant rubber. DECK-O-SEAL GUN GRADE is highly resilient and has excellent recovery characteristics, even after extended periods of compression or elongation. It has outstanding resistance to most chemicals, to all weather conditions, aging, and shrinkage. For on-the-job use, DECK-O-SEAL GUN GRADE is supplied in pre-measured kits containing the base compound and a separate container of setting agent, with enough room in the base container for blending both components. DECK-O-SEAL GUN GRADE is a premium quality, flexible sealing compound for use in applications where short turn-around time is a requirement, such as pool bottom and sidewall repairs and areas subject to pedestrian and vehicular traffic. DECK-O-SEAL GUN GRADE can be used for general purpose caulking of joints and seams (both above and below water), glazing, weatherproofing, exterior curtain wall sealing, and interior/exterior expansion joint sealing. All submerged applications must be primed with P/G PRIMER from W. R. MEADOWS.

PART 1 GENERAL

1.01	SECTION INCLUDES

A.	Concrete joint preparation.

B.	Application of two-component, cold-applied, non-sag, joint sealant.

1.02	RELATED SECTIONS

Specifier Notes: Edit the list of related sections as required for the project. List other sections dealing with work directly related to this section.

A.	Section 03 30 00 - Cast-in-Place Concrete.

B.	Section 03 35 00 – Concrete Finishing.

C.	Section 07 90 00 - Joint Protection.

1.03	REFERENCES

A.	ASTM C920:  Standard Specification for Elastomeric Joint Sealants.

##### B.	Federal Specification A-A-1556A:  Sealing Compound (Elastomeric Joint Sealant).

1.04	SUBMITTALS

A.	Comply with Section 01 33 00 - Submittal Procedures.

B.	Submit manufacturer's product data and application instructions.

1.05	QUALITY ASSURANCE

A.	Installer Qualifications:  	Use an installer and adequate number of skilled personnel who are 		thoroughly trained and experienced in joint sealing application techniques.

B.	Obtain joint sealant materials and accessories from a single manufacturer regularly engaged in manufacturing the product.

C.	Provide products which comply with all state and local regulations controlling use of volatile organic compounds (VOCs).

1.06	DELIVERY, STORAGE, AND HANDLING

A.	Deliver materials to site in manufacturer's original, unopened containers and packaging, with 	labels clearly identifying product name and manufacturer.

B.	Store materials in a clean, cool, dry area in accordance with manufacturer's instructions.

C.	Do not open packaging until ready to use.

D.	Protect materials during handling and application to prevent damage or contamination.

1.07	ENVIRONMENTAL REQUIREMENTS

A.	Apply sealant at temperatures between 40o F and 122o F (4o C and 50o C).

B. 	Do not apply sealant in joints containing free water.

PART 2	 PRODUCTS

2.01	MANUFACTURER

A.	W. R. MEADOWS®, INC., PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976. (847) 683-4500. Fax (847) 683-4544. Web Site www.wrmeadows.com.

2.02	MATERIALS

A.	Joint Sealant:  Pourable, two-component, cold-applied, non-sag, polysulfide based joint 			sealant.

1.	Performance Based Specification:  Joint sealant shall have the following 					characteristics:

a.	Consistency:  Thixotropic paste.

b.	Application time (77° F - 50% RH):  1 hour.

c.	Tack-Free Time:  4 hours.

d.	Linear Shrinkage:  Negligible.

e.	Volume Shrinkage:  Negligible.

f.	Shore Hardness:  Shore A 20 ± 5.

g.	Tensile Strength:  125 - 250 psi. (862.5 to 1723 KPa)

h.	Elongation:  400%.

i.	Peel Adhesion (ASTM C794):  20 lb./in. min. (357 g/mm).

2.	Proprietary Based Specification:  DECK-O-SEAL GUN GRADE Two-Part, 				Elastomeric, Polysulfide Based Joint Sealant manufactured by W. R. MEADOWS.

2.03	ACCESSORIES

A.	Backer Rod:  KOOL-ROD™ or CERA-ROD™ manufactured by W. R. MEADOWS.

B.	Joint Filler:  CERAMAR® manufactured by W.R. MEADOWS.

C.	Primer System:  P/G PRIMER manufactured by W.R. MEADOWS.

PART 3 EXECUTION

3.01	EXAMINATION

A.	Examine areas to receive joint sealant. Notify consultant if surfaces are not acceptable. Do 		not begin joint preparation or sealant application until unacceptable conditions have been 		corrected.

B.	Ensure accessory materials are compatible with joint sealant and approved by membrane 		manufacturer.

C.	Ensure joint sealant is not in direct contact with asphaltic concrete pavements or asphaltic 		joint fillers.

3.02	JOINT PREPARATION

A.	Ensure proper joint design practices are followed.

B. 	Remove foreign substances, incompressibles, and free water from joint opening.

C. 	Concrete joints must be clean and dry.

D. 	Dust, dirt and laitance should be removed prior to application.

E.	Install backer rod or joint filler to control depth of joint sealant.

F.	Protect adjacent surfaces not designated to receive joint sealant.

3.03	PRIMING

Specifier Notes:  DECK-O-SEAL GUN GRADE adheres well to unprimed concrete; however, P/G PRIMER is recommended for optimum adhesion.  P/G PRIMER is required for all joints subjected to hydrostatic pressure, submerged underwater, and/or joints over 1" in width.

A.	Mix all material in both containers.

B.	Pour part A into part B and mix thoroughly with a clean wooden or metal 					paddle for approximately 3 - 4 minutes.

C.	Scrape container sides and bottom for complete integration.

D.	Apply primer system to properly prepared joint surfaces by brush, depositing a light, 			continuous film.

E.	Apply an additional coat to very soft, porous surfaces.

F.	Allow primer to become tacky to the touch prior to application of the joint sealant.

3.04	APPLICATION

A.	Mix the setting agent and base components separately using a wooden paddle or slow 			speed drill and flat blade paddle in accordance with manufacturer’s instructions.

B.	Pour setting agent into base and mix slowly.

C.	Scrape material from sides and bottom until joint sealant is a uniform color.

D.	Continue mixing for a minimum of 10 minutes.

E.	Apply thoroughly blended material with a hand- or air-operated caulking gun, putty knife, or 		trowel.

F.	Tool sealant beads with tools wetted with clean water.

G.	Joint sealant will become tack free after approximately four hours and will fully cure after 24 		hours at air and surface temperatures above 77o F (25o C).

3.05	CLEAN UP

A.	Clean tools with xylene or toluene and remove masking tape before sealant cures.

END OF SECTION